Healthy & Safe Schools Plan

Mountain View Academy Charter School is committed to providing safe, healthy school facilities where students learn, play, and grow. Mountain View Academy, as a part of the Lowell School District, has developed a plan in accordance with Oregon law, so as to maintain safe and healthy school facilities for all students. Mountain View Academy resides in the back wing of Lundy Elementary School and therefore the results of testing at Lundy Elementary and Mountain View Academy are the same.

This Healthy & Safe Schools Plan covers all school buildings and addresses six major areas:

- Lead in drinking water

- Lead paint

- Asbestos

- Radon

- Integrated Pest Management

- Carbon Monoxide

- Communication

In addition to being posted on the district website, notice of test results are communicated via district and school email lists, and hard copies are available in the district Maintenance Operation and Transportation Office at 18 S. Main St. Lowell, Oregon 97452. If you have any questions about the District or Mountain View Academy Charter School Health and Safety Plan or specific test results, please contact Maintenance Operations and Transportation Office at 541-937-5070 or contact MVA Director Jessica Cardwell at 541-735-1709.

Mountain View Academy Healthy & Safe Schools Plan:

- Responsible Person

The person responsible for administering and implementing the Healthy and Safe Schools Plan, designated IPM Coordinator, and person responsible for AHERA information:

Name: Jason Pickett

Position Title: Director Maintenance Operations and Transportation

Phone Number: 541-937-2114

Email address: jpickett@lowell.k12.or.us

Mailing Address: 65 S. Pioneer Street, Lowell, Oregon 97452

- List Facilities:

| Facility Name: | Facility Address: |
| --- | --- |
| Mountain View Academy & Lundy Elementary School | 45 S. Moss Street Lowell, Oregon 97452 |

- Elevated Levels of Lead in Water Used for Drinking or Food Preparation

All school districts, education service districts, and public charter schools are required to test for and eliminate exposure to elevated levels of lead in water used for Drinking and Food Preparation through either remediation or eliminating access, according to OAR 333-061-0400 and OAR 581-022-2223. In conformance with those administrated rules, Lowell School District #71 and Mountain View Academy certifies the following:

- All testing was done in accordance with the testing requirement in OAR 333-061-0400.

- All samples were analyzed by a lab accredited by Oregon Health Authority to test for those materials;

- All water fixtures required to be tested under OAR 333-061-0400;

- The testing schedule for each building covered by this plan is set forth below.

| Facility Name: | Year of last test: | Level of Lead: | Next Scheduled test: (Beginning of 6-year schedule) | Schedule or Exemption reason: |
| --- | --- | --- | --- | --- |
| Mountain View Academy | 4/19/22 | ND | 2028 | 6-year schedule |
| MVA Girls Gang Restroom Sink A | 4/19/2022 | ND | 2028 | 6-year schedule |
| MVA Girls Gang Restroom Sink B | 4/19/2022 | Nd | 2028 | 6-year schedule |
| MVA Girls Gang Restroom Sink C | 4/19/2022 | ND | 2028 | 6-year schedule |
| MVA Girls Gang Restroom Sink D | 4/19/2022 | ND | 2028 | 6-year schedule |
| MVA Boys Gang Restroom Sink A | 4/19/2022 | ND | 2028 | 6-year schedule |
| MVA Boys Gang Restroom Sink B | 4/19/2022 | ND | 2028 | 6-year schedule |
| MVA Boys Gang Restroom Sink C | 4/19/2022 | ND | 2028 | 6-year schedule |
| MVA Boys Gang Restroom Sink D | 4/19/2022 | ND | 2028 | 6-year schedule |
| MVA Exterior Hose Bib | 4/19/2022 | 10.4 | 2028 | 6-year schedule |
| MVA Staff Room Sink | 4/19/2022 | ND | 2028 | 6-year schedule |
| MVA Hall Drinking Fountain | 4/19/2022 | ND | 2028 | 6-year schedule |

- Lead Paint

In order to comply with the United States Environmental Protection Agency’s Renovation, Repair, and Painting Program Rule, Mountain View Academy and Lowell School District #71 staff - certified by the Oregon Health Authority - shall perform the work. If work is contracted out, the District and Mountain View Academy will only contract with certified lead-based paint renovation contractors licensed by the Oregon Construction Contractor’s Board.

- Asbestos

The Lowell School District #71 and Mountain View Academy comply with federal Asbestos Hazard Emergency Response Act (AHERA). All required asbestos management plans are available for viewing by submitting a request to Jason Pickett.

- Radon

The Lowell School District #71 has developed a radon plan for all district buildings, including Mountain View Academy, as required by ORS 332.345. Community members can access the radon testing results in the spreadsheet below and can see a copy of the radon plan here: Radon Plan.

| Site Address: | Building Name: | Room Description | Kit serial # | Date sampled: | Type of test: | Results (pCL/L) |
| --- | --- | --- | --- | --- | --- | --- |
| 45 S. Moss | Main office | Office | 0369579 | 2/7/2020 | Detector kit | 0.3 |
| 45 S. Moss | MVA | Room 167 | 9369567 | 2/7/2020 | Detector kit | 0.6 |
| 45 S. Moss | MVA | Room 165 | 9369568 | 2/7/2020 | Detector kit | 0.8 |
| 45 S. Moss | MVA | Storage | 9369569 | 2/7/2020 | Detector kit | 0.7 |
| 45 S. Moss | MVA | Room 162 | 9369570 | 2/7/2020 | Detector kit | 0.7 |
| 45 S. Moss | MVA | Hallway | 9369571 | 2/7/2020 | Detector kit | 0.7 |
| 45 S. Moss | MVA | Ro0m 154 | 9369572 | 2/7/2020 | Detector kit | 0.6 |
| 45 S. Moss | MVA | Room 156 | 9369573 | 2/7/2020 | Detector kit | 0.5 |
| 45 S. Moss | MVA | Room 159 | 9369574 | 2/7/2020 | Detector kit | 0.9 |
| 45 S. Moss | MVA | Room 164 | 9369575 | 2/7/2020 | Detector kit | 0.8 |
| 45 S. Moss | MVA | Room 157 | 9369576 | 2/7/2020 | Detector kit | 0.9 |
| 45 S. Moss | MVA | Entrance/Admin | 7293942 | 2/7/2020 | Detector kit | 0.3 |
| 45 S. Moss | MVA modular | 5th & 6th | 9369603 | 2/7/2020 | Detector kit | 0.3 |
| 45 S. Moss | MVA modular | 7th & 8th | 9369604 | 2/7/2020 | Detector kit | 0.3 |
| 45 S. Moss | Cafeteria | Cafeteria | 93695890 | 2/7/2020 | Detector kit | 0.3 |
| 45 S. Moss | Gymnasium | East | 9369586 | 2/7/2020 | Detector kit | 0.3 |
| 45 S. Moss | Gymnasium | West | 9369587 | 2/7/2020 | Detector kit | 0.3 |

- Integrated Pest Management

Lowell School District #71 has adopted an Integrated Pest Management (IPM) Plan for all district buildings, including Mountain View Academy, as required by ORS 634.700 through 634.750. Community members can access a copy of the IMP plan here: Pest Management Plan

- Carbon Monoxide Detectors

Mountain View Academy Charter School and the Lowell School District #71, certifies that all buildings subject to Health and Safe Schools Plan comply with the carbon monoxide detection standards in the state building code that was in effect when the building was originally constructed or as required by building code due to addition, upgrade, or remodel. This includes Mountain View Academy Charter School.

Test Results Publication

Mountain View Academy Charter School is complying with the requirement to provide access to test results, as defined by OAR 581-022-2223 within 10 business days as defined by ORS 332.334. Test results can be requested from the Mountain View Academy office and will be published within the Healthy & Safe Schools Plan.